## 0-general
Project Information
PROJECT NAME | B-PAT example
System Integrator Name | Company We_handle_All
BACnet administrator | Mr. Big
Last Change | 26.02.2009
B-PAT Table Layout-Version | 1.01
B-PAT Table Marco-Version | 1.00
Sub Project Information
SUB PROJECT NAME | B-PAT example Building B
Sub System Integrator Name | Company We_handle_a_Building
Sub Project Engineer | Mr. Small
Last Change | 03.12.2008
Do not enter colored cells!
Please read the manual!
Color Legend
Headline for Inputs
Headline to choose Inputs
Headline for calculated cells
wrong input, correct input expected
Inputs expected
Inputs not expected
Inputs not expected because calculated

## 1-BACnet network
BACnet network number | data link layer | IP UDP port | MS/TP or PTP baudrate | MS/TP max master | remarks | last change
__unique
--- | --- |  |  |  | reserved for non BACnet Devices | 2008-11-13
1 | IP | BAC0 |  |  | BACnet Backbone | 2008-11-12
22 | MS/TP |  | 19200 | 12 | Building K, Floor 1 | 2008-11-12
23 | MS/TP |  | 38400 | 5 | Building K, Floor 2 | 2008-11-12
3 | Ethernet |  |  |  | Building D | 2008-11-12
17 | LonTalk |  |  |  | Company YYY | 2008-11-12
105 | Virtual |  |  |  | Testequipment | 2008-11-12
20 | PTP |  | 9600 |  | Building ZZ | 2008-11-12

## 2-IP network
IP network |  |  |  | BBMD device |  |  | asymmetric BBMD tables
IP network | subnet mask | default gateway | DHCP supported | BBMD device | max entries in BDT table | BDT table entries |  | BDT entries 010.053.108.002 | BDT entries 141.042.073.002 | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries | BDT entries
IPunique | IP | IPunique |  | IPunique |  |  |  | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique | Ipunique
141.042.080.000 | 255.255.255.000 | 141.042.080.040 | yes | 141.042.080.164 | 20 | standard | BBMD itself | 010.053.108.002 | 141.042.073.002
010.053.132.000 | 255.255.255.000 | 010.053.132.001 | no | 010.053.108.002 | 20 | asymmetric | other entries | 141.042.080.164 | 141.042.080.164
141.042.073.000 | 255.255.255.000 | 141.042.073.001 | no | 141.042.073.002 | 20 | asymmetric
Note on G2: info: standard : BDT contains all BBMD addresses asymetric: BDT contains a subset of all BBMD addresses

## 3-device
BACnet device | [6 empty] | main network |  |  |  | router port1 |  |  | router port2 |  |  | router port3 |  |  | other information
device name | device instance | device description | vendor ID | vendor name | model name | location | network number main | data link layer | address | BACnet MAC address | network number port1 | data link layer | address | network number port2 | data link layer | address | network number port3 | data link layer | address | BBMD/ FD | FD to BBMD address | device profile | function type | vendor specific address | last change | consecutive number
__unique | __unique | [7 empty] | Ipunique_net |  | __unique |  | Ipunique_net | __unique |  | Ipunique_net | __unique |  | Ipunique_net |  | IP
WorkStation1 | 253 | Workstation No. 1 | 1001 | Vendor1001 | Workstation_Typ_V1001 | Operator room left | 1 | IP | 141.042.080.160 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-OWS | Workstation | 253 | 2008-11-13 | 1
WorkStation2 | 252 | Workstation No. 2 | 1002 | Vendor1002 | Workstation_Typ_V1001 | Operator room right | 1 | IP | 141.042.080.161 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-OWS | Workstation | 252 | 2008-11-13 | 2
WorkStation3 | 251 | Workstation No. 3 | 1002 | Vendor1002 | Workstation_Typ_V1002 | Operator room in the back | 1 | IP | 141.042.080.162 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-OWS | Workstation | 251 | 2008-11-13 | 3
--- | --- | --- | --- | -- | --- | Operator room in the back | 1 | IP | 141.041.080.090 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | --- | Server | --- | 2008-11-13 | 4
C_BBMD01 | 210 | BBMD Controller Building A | 1003 | Vendor1003 | XYZ_V1003 | Building A, Room 027 | 1 | IP | 141.042.008.090 | #VALUE! |  | - |  |  | - |  |  | - |  | BBMD |  | B-BC | Controller | 170 | 2008-11-13 | 5
C_BBMD02 | 67 | BBMD Controller Building A | 1003 | Vendor1003 | XYZ_V1003 | Building C, Room 003 | 1 | IP | 010.053.108.064 | #VALUE! |  | - |  |  | - |  |  | - |  | BBMD |  | B-BC | Controller | 171 | 2008-11-13 | 6
C_Vendor_prop1 | --- | Unit 102, 230 | --- | -- | ABC_Vendor_proprietary | Building Z, Room 609 | --- | - | 141.042.080.196 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | --- | Controller | 12345 | 2008-11-13 | 7
C_Vendor_prop2 | --- | Unit H10, H30 | --- | -- | ABC_Vendor_proprietary | Building Z, Room 006 | --- | - | 141.042.080.197 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | --- | Controller | 12346 | 2008-11-13 | 8
CR_V1004_01 | 221 | HVAC Controller Router V29 | 1004 | Vendor1004 | KLM_Vendor_V1004 | Building K, Room 500 | 1 | IP | 141.042.080.198 | #VALUE! | 22 | MS/TP | 000 |  | - |  |  | - |  | --- |  | B-BC | Controller | 97 | 2008-11-13 | 9
CR_V1004_02 | 22101 | HVAC Controller V29 | 1004 | Vendor1004 | LMN_Vendor_V1004 | Building K, Room 500 | 22 | MS/TP | 001 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-AAC | Controller | 1 | 2008-11-13 | 10
CR_V1004_03 | 22102 | HVAC Controller V29 | 1004 | Vendor1004 | MNO_Vendor_V1004 | Building K, Room 500 | 22 | MS/TP | 002 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-AAC | Controller | 2 | 2008-11-13 | 11
CR_V1004_04 | 22103 | HVAC Controller V29 | 1004 | Vendor1004 | MNO_Vendor_V1004 | Building K, Room 500 | 22 | MS/TP | 003 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-AAC | Controller | 3 | 2008-11-13 | 12
FU_V1005_01 | 7701 | Frequency Converter Inc Air V29 | 1005 | Vendor1005 | GHI_Vendor_V1005 | Building K, Room 500 | 22 | MS/TP | 004 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-ASC | Frequency Converter | 1 | 2008-11-13 | 13
FU_V1005_02 | 7702 | Frequency Converter Exh Air V29 | 1005 | Vendor1005 | GHI_Vendor_V1005 | Building K, Room 500 | 22 | MS/TP | 012 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-ASC | Frequency Converter | 2 | 2008-11-13 | 14
--- | --- | HVAC Controller Router V28 | 1004 | Vendor1004 | KLM_Vendor_V1004 | Building K, Room 600 | 1 | IP | 141.042.080.199 | #VALUE! | 23 | MS/TP | 000 |  | - |  |  | - |  | --- |  | B-BC | Controller | 98 | 2008-11-13 | 15
CR_V1004_05 | 22201 | HVAC Controller V28 | 1004 | Vendor1004 | LMN_Vendor_V1004 | Building K, Room 600 | 23 | MS/TP | 001 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-AAC | Controller | 1 | 2008-11-13 | 16
CR_V1004_06 | 22202 | HVAC Controller V28 | 1004 | Vendor1004 | MNO_Vendor_V1004 | Building K, Room 600 | 23 | MS/TP | 002 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-AAC | Controller | 2 | 2008-11-13 | 17
CR_V1004_07 | 22203 | HVAC Controller V28 | 1004 | Vendor1004 | MNO_Vendor_V1004 | Building K, Room 600 | 23 | MS/TP | 003 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-AAC | Controller | 3 | 2008-11-13 | 18
FU_V1005_03 | 7801 | Frequency Converter Inc Air V28 | 1005 | Vendor1005 | GHI_Vendor_V1005 | Building K, Room 600 | 23 | MS/TP | 004 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-ASC | Frequency Converter | 1 | 2008-11-13 | 19
FU_V1005_04 | 7802 | Frequency Converter Exh Air V28 | 1005 | Vendor1005 | GHI_Vendor_V1005 | Building K, Room 600 | 23 | MS/TP | 005 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-ASC | Frequency Converter | 2 | 2008-11-13 | 20
C_V1006 | 12 | Unit A, B, C | 1006 | Vendor1006 | ABC_Vendor_V1006 | Building F, basement | 1 | IP | 141.042.073.020 | #VALUE! |  | - |  |  | - |  |  | - |  | BBMD |  | B-BC | Controller | C12 | 2008-11-13 | 21
C_V1007.01 | 4111 | Check Point B_U | 1007 | Vendor1007 | UVW_Vendor_V1007 | Building U, Room B01 | 1 | IP | 010.053.132.035 | #VALUE! |  | - |  |  | - |  |  | - |  | FD | 141.042.080.064 | B-BC | Controller | --- | 2008-11-13 | 22
C_V1007.02 | 4112 | Check Point B_V | 1007 | Vendor1007 | UVW_Vendor_V1007 | Building V, Room B01 | 1 | IP | 010.053.056.033 | #VALUE! |  | - |  |  | - |  |  | - |  | FD | 141.042.080.064 | B-BC | Controller | --- | 2008-11-13 | 23
CR_V1008 | 721 | HVAC Controller V66 | 1008 | Vendor1008 | FGH_Vendor_V1008 | Building D, Room 01 | 1 | IP | 010.053.056.034 | #VALUE! | 3 | Ethernet | 00-33-02-56-53-B3 |  | - |  |  | - |  | --- |  | B-BC | Controller | 42826 | 2008-11-13 | 24
C_V1008 | 722 | HVAC Controller V66 | 1008 | Vendor1008 | FGH_Vendor_V1008 | Building D, Room 01 | 3 | Ethernet | 00-33-02-56-77-A4 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-AAC | Controller | 42827 | 2008-11-13 | 25
C_V1009 | 9981 | Simulation | 1009 | Vendor1009 | ABC_Vendor_V1009 | Company ZZZ | 1 | IP | 141.042.073.022 | #VALUE! | 105 | Virtual | 001 |  | - |  |  | - |  | --- |  | B-BC | Controller | C3PO | 2008-11-13 | 26
C_V1010 | 9982 | Simulation | 1009 | Vendor1009 | BCD_Vendor_V1009 | Company ZZZ | 105 | Virtual | 002 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-OWS | Server | R2D2 | 2008-11-13 | 27
C_BNR1 | 12000 | Simulation | 1009 | Vendor1009 | ABC_Vendor_V1009 | Company ZZZ | 1 | IP | 141.042.073.027 | #VALUE! | 17 | LonTalk |  |  | - |  |  | - |  | --- |  | --- | Router | R1D2 | 2008-11-13 | 28
CP_V1017 | 2098177 | Simulation | 1017 | Vendor1017 | ABC_Vendor_V1017 | Company ZZZ | 17 | LonTalk | 1,2 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-BC | Controller | R2D1 | 2008-11-13 | 29
CP_V1018 | 2098178 | Simulation | 1017 | Vendor1017 | ABC_Vendor_V1018 | Company ZZZ | 17 | LonTalk | 1,3 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-BC | Controller | R1D1 | 2008-11-13 | 30
CP_V1019 | 2098179 | Simulation | 1017 | Vendor1017 | ABC_Vendor_V1018 | Company ZZZ | 17 | LonTalk | 1,4 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-BC | Controller | R1D1 | 2008-11-13 | 31
C_V1051 | 723 | HVAC Controller V66 | 1008 | Vendor1008 | FGH_Vendor_V1008 | Building D, Room 01 | 3 | Ethernet | 00-33-02-00-33-02 | #VALUE! |  | - |  |  | - |  |  | - |  | --- |  | B-AAC | Controller | 42827 | 2008-11-13 | 32
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
|  |  |  | -- |  |  |  | - |  | #VALUE! |  | - |  |  | - |  |  | -
Note on J2: Input: IP - IP Address MS/TP - MAC Address PTP - Phone Number Ethernet - MAC Address Virtual - MAC Address LonTalk - Subnet, Node Arcnet - MAC Address
Note on N2: Input: IP - IP Address MS/TP - MAC Address PTP - Phone Number Ethernet - MAC Address Virtual - MAC Address LonTalk - Subnet, Node Arcnet - MAC Address
Note on Q2: Input: IP - IP Address MS/TP - MAC Address PTP - Phone Number Ethernet - MAC Address Virtual - MAC Address LonTalk - Subnet, Node Arcnet - MAC Address
Note on T2: Input: IP - IP Address MS/TP - MAC Address PTP - Phone Number Ethernet - MAC Address Virtual - MAC Address LonTalk - Subnet, Node Arcnet - MAC Address

## 4-vendor&other
Vendor ID | Vendor Name | Data Link Layer | Unique Check for DLL | Device Profile | MS/TP or PTP Baudrate | IP UDP Port | Function Type | BBMD / FD | BBMD Type | YesNo | Debug output? | Duplicate color | BOOLEAN | maxCol | maxRow
0 | ASHRAE | IP | all | B-OWS | 9600 | BAC0 | Workstation | BBMD | standard | yes | FALSE | 3 | TRUE | 147 | 238
1 | NIST | MS/TP | net | B-BC | 19200 | BAC1 | Controller | FD | asymmetric | no |  |  | FALSE
2 | The Trane Company | PTP | --- | B-AAC | 38400 | BAC2 | Router | ---
3 | McQuay International | Virtual | net | B-ASC | 76800 | BAC3 | Server
4 | PolarSoft | Ethernet | all | B-SA |  | BAC4 | Analyser
5 | Johnson Controls, Inc. | ARCNET | net | B-SS |  | BAC5 | Frequency Converter
6 | American Auto-Matrix | LonTalk | net | [B-GW] |  | BAC6 | RoomController
7 | Siemens Building Technologies, Ltd., Landis & Staefa Division Europe |  |  | --- |  | BAC7 | VAVController
8 | Delta Controls |  |  |  |  | BAC8 | EngineeringTool
9 | Siemens Building Technologies, Inc. |  |  |  |  | BAC9
10 | Tour Andover Controls Corporation
11 | TAC
12 | Orion Analysis Corporation
13 | Teletrol Systems Inc.
14 | Cimetrics Technology
15 | Cornell University
16 | United Technologies Carrier
17 | Honeywell Inc.
18 | Alerton / Honeywell
19 | TAC AB
20 | Hewlett-Packard Company
21 | Dorsette’s Inc.
22 | Cerberus AG
23 | York Controls Group
24 | Automated Logic Corporation
25 | CSI Control Systems International
26 | Phoenix Controls Corporation
27 | Innovex Technologies, Inc.
28 | KMC Controls, Inc.
29 | Xn Technologies, Inc.
30 | Hyundai Information Technology Co., Ltd.
31 | Tokimec Inc.
32 | Simplex
33 | North Communications Limited
34 | Notifier
35 | Reliable Controls Corporation
36 | Tridium Inc.
37 | Sierra Monitor Corp.
38 | Silicon Energy
39 | Kieback & Peter GmbH & Co KG
40 | Anacon Systems, Inc.
41 | Systems Controls & Instruments, LLC
42 | Lithonia Lighting
43 | Micropower Manufacturing
44 | Matrix Controls
45 | METALAIRE
46 | ESS Engineering
47 | Sphere Systems Pty Ltd.
48 | Walker Technologies Corporation
49 | H I Solutions, Inc.
50 | MBS GmbH
51 | SAMSON AG
52 | Badger Meter Inc.
53 | DAIKIN Industries Ltd.
54 | NARA Controls Inc.
55 | Mammoth Inc.
56 | Liebert Corporation
57 | SEMCO Incorporated
58 | Air Monitor Corporation
59 | TRIATEK, Inc.
60 | NexLight
61 | Multistack
62 | TSI Incorporated
63 | Weather-Rite, Inc.
64 | Dunham-Bush
65 | Reliance Electric
66 | LCS Inc.
67 | Regulator Australia PTY Ltd.
68 | Touch-Plate Lighting Controls
69 | Amann GmbH
70 | RLE Technologies
71 | Cardkey Systems
72 | SECOM Co., Ltd.
73 | ABB Gebäudetechnik AG Bereich NetServ
74 | KNX Association cvba
75 | Institute of Electrical Installation Engineers of Japan (IEIEJ)
76 | Nohmi Bosai, Ltd.
77 | Carel S.p.A.
78 | AirSense Technology, Inc.
79 | Hochiki Corporation
80 | Fr. Sauter AG
81 | Matsushita Electric Works, Ltd.
82 | Mitsubishi Electric Corporation, Inazawa Works
83 | Mitsubishi Heavy Industries, Ltd.
84 | ITT Bell & Gossett
85 | Yamatake Building Systems Co., Ltd.
86 | The Watt Stopper, Inc.
87 | Aichi Tokei Denki Co., Ltd.
88 | Activation Technologies, LLC
89 | Saia-Burgess Controls, Ltd.
90 | Hitachi, Ltd.
91 | Novar Corp./Trend Control Systems Ltd.
92 | Mitsubishi Electric Lighting Corporation
93 | Argus Control Systems, Ltd.
94 | Kyuki Corporation
95 | Richards-Zeta Building Intelligence, Inc.
96 | Scientech R&D, Inc.
97 | VCI Controls, Inc.
98 | Toshiba Corporation
99 | Mitsubishi Electric Corporation Air Conditioning & Refrigeration Systems Works
100 | Custom Mechanical Equipment, LLC
101 | ClimateMaster
102 | ICP Panel-Tec, Inc.
103 | D-Tek Controls
104 | NEC Engineering, Ltd.
105 | PRIVA BV
106 | Meidensha Corporation
107 | JCI Systems Integration Services
108 | Freedom Corporation
109 | Neuberger Gebäudeautomation GmbH
110 | Sitronix
111 | Leviton Manufacturing
112 | Fujitsu Limited
113 | Emerson Network Power
114 | S. A. Armstrong, Ltd.
115 | Visonet AG
116 | M&M Systems, Inc.
117 | Custom Software Engineering
118 | Nittan Company, Limited
119 | Elutions Inc. (Wizcon Systems SAS)
120 | Pacom Systems Pty., Ltd.
121 | Unico, Inc.
122 | Ebtron, Inc.
123 | Scada Engine
124 | AC Technology Corporation
125 | Eagle Technology
126 | Data Aire, Inc.
127 | ABB, Inc.
128 | Transbit Sp. z o. o.
129 | Toshiba Carrier Corporation
130 | Shenzhen Junzhi Hi-Tech Co., Ltd.
131 | Tokai Soft
132 | Lumisys
133 | Veris Industries
134 | Centaurus Prime
135 | Sand Network Systems
136 | Regulvar, Inc.
137 | Fastek International, Ltd.
138 | PowerCold Comfort Air Solutions, Inc.
139 | I Controls
140 | Viconics Electronics, Inc.
141 | Yaskawa Electric America, Inc.
142 | Plueth Regelsysteme
143 | Digitale Mess- und Steuersysteme AG
144 | Fujitsu General Limited
145 | Project Engineering S.r.l.
146 | Sanyo Electric Co., Ltd.
147 | Integrated Information Systems, Inc.
148 | Temco Controls, Ltd.
149 | Airtek Technologies, Inc.
150 | Advantech Corporation
151 | Titan Products, Ltd.
152 | Regel Partners
153 | National Environmental Product
154 | Unitec Corporation
155 | Kanden Engineering Company
156 | Messner Gebäudetechnik GmbH
157 | Integrated.CH
158 | EH Price Limited
159 | SE-Elektronic GmbH
160 | Rockwell Automation
161 | Enflex Corp.
162 | ASI Controls
163 | SysMik GmbH Dresden
164 | HSC Regelungstechnik GmbH
165 | Smart Temp Australia Pty. Ltd.
166 | Cooper Controls
167 | Duksan Mecasys Co., Ltd.
168 | Fuji IT Co., Ltd.
169 | Vacon Plc
170 | Leader Controls
171 | Cylon Controls, Ltd.
172 | Compas
173 | Mitsubishi Electric Building Techno-Service Co., Ltd.
174 | Building Control Integrators
175 | ITG Worldwide (M) Sdn Bhd
176 | Lutron Electronics Co., Inc.
177 | Cooper-Atkins Corporation
178 | LOYTEC Electronics GmbH
179 | ProLon
180 | Mega Controls Limited
181 | Micro Control Systems, Inc.
182 | Kiyon, Inc.
183 | Dust Networks
184 | Advanced Building Automation Systems
185 | Hermos AG
186 | CEZIM
187 | Softing
188 | Lynxspring
189 | Schneider Toshiba Inverter Europe
190 | Danfoss Drives A/S
191 | Eaton Corporation
192 | Matyca S.A.
193 | Botech AB
194 | Noveo, Inc.
195 | AMEV
196 | Yokogawa Electric Corporation
197 | GFR Gesellschaft für Regelungstechnik
198 | Exact Logic
199 | Mass Electronics Pty Ltd dba Innotech Control Systems Australia
200 | Kandenko Co., Ltd.
201 | DTF, Daten-Technik Fries
202 | Klimasoft, Ltd.
203 | Toshiba Schneider Inverter Corporation
204 | Control Applications, Ltd.
205 | KDT Systems Co., Ltd.
206 | Onicon Incorporated
207 | Automation Displays, Inc.
208 | Control Solutions, Inc.
209 | Remsdaq Limited
210 | NTT Facilities, Inc.
211 | VIPA GmbH
212 | TSC21 Association of Japan
213 | BBP Energie Ltee
214 | HRW Limited
215 | Lighting Control & Design, Inc.
216 | Mercy Electronic and Electrical Industries
217 | Samsung SDS Co., Ltd
218 | Impact Facility Solutions, Inc.
219 | Aircuity
220 | Control Techniques, Ltd.
221 | OpenGeneral Pty., Ltd.
222 | WAGO Kontakttechnik GmbH & Co. KG
223 | Cerus Industrial
224 | Chloride Power Protection Company
225 | Computrols, Inc.
226 | Phoenix Contact GmbH & Co. KG
227 | Grundfos Management A/S
228 | Ridder Drive Systems
229 | Soft Device SDN BHD
230 | Integrated Control Technology Limited
231 | AIRxpert Systems, Inc.
232 | Microtrol Limited
233 | Red Lion Controls
234 | Digital Electronics Corporation
235 | Ennovatis GmbH
236 | Serotonin Software Technologies, Inc.
237 | LS Industrial Systems Co., Ltd.
238 | Square D Company
239 | S Squared Innovations, Inc.
240 | Aricent Ltd.
241 | EtherMetrics, LLC
242 | Industrial Control Communications, Inc.
243 | Paragon Controls, Inc.
244 | A. O. Smith Corporation
245 | Contemporary Control Systems, Inc.
246 | Intesis Software SL
247 | Ingenieurgesellschaft N. Hartleb mbH
248 | Heat-Timer Corporation
249 | Ingrasys Technology, Inc.
250 | Costerm Building Automation
251 | Wilo AG
252 | Embedia Technologies Corp.
253 | Technilog
254 | HR Controls Ltd. & Co. KG
255 | Lennox International, Inc.
256 | RK-Tec Rauchklappen-Steuerungssysteme GmbH & Co. KG
257 | Thermomax, Ltd.
258 | ELCON Electronic Control, Ltd.
259 | Larmia Control AB
260 | BACnet Stack at SourceForge
261 | G4S Security Services A/S
262 | Sitek S.p.A.
263 | Cristal Controles
264 | Regin AB
265 | Dimension Software, Inc.
266 | SynapSense Corporation
267 | Beijing Nantree Electronic Co., Ltd.
268 | Camus Hydronics Ltd.
269 | Kawasaki Heavy Industries, Ltd.
270 | Critical Environment Technologies
271 | ILSHIN IBS Co., Ltd.
272 | ELESTA Energy Control AG
273 | KROPMAN Installatietechniek
274 | Baldor Electric Company
275 | INGA mbH
276 | GE Consumer & Industrial
277 | Functional Devices, Inc.
278 | ESAC
279 | M-System Co., Ltd.
280 | Yokota Co., Ltd.
281 | Hitranse Technology Co., LTD
282 | Federspiel Controls
283 | Kele, Inc.
284 | Opera Electronics, Inc.
285 | Gentec
286 | Embedded Science Labs, LLC
287 | Parker Hannifin Corporation
288 | MaCaPS International Limited
289 | Link4 Corporation
290 | Romutec Steuer-u. Regelsysteme GmbH
291 | Pribusin, Inc.
292 | Advantage Controls
293 | Critical Room Control
294 | LEGRAND
295 | Tongdy Control Technology Co., Ltd.
296 | ISSARO Integrierte Systemtechnik
297 | Pro-Dev Industries
298 | DRI-STEEM
299 | Creative Electronic GmbH
300 | Swegon AB
301 | Jan Brachacek
302 | Hitachi Appliances, Inc.
303 | Real Time Automation, Inc.
304 | ITEC Hankyu-Hanshin Co.
305 | Cyrus E&M Engineering Co., Ltd.
306 | Racine Federated, Inc.
307 | Verari Systems, Inc.
308 | Elesta GmbH Building Automation
309 | Securiton
310 | OSlsoft, Inc.
311 | Hanazeder Electronic GmbH
312 | Honeywell Security Deutschland, Novar GmbH
313 | Siemens Energy & Automation, Inc.
314 | ETM Professional Control GmbH
315 | Meitav-tec, Ltd.
316 | Janitza Electronics GmbH
317 | MKS Nordhausen
318 | De Gier Drive Systems B.V.
319 | Cypress Envirosystems
320 | SMARTron s.r.o.
321 | Verari Systems, Inc.
322 | K-W Electronic Service, Inc.
323 | ALFA-SMART Energy Management
324 | Telkonet, Inc.
325 | Securiton GmbH
326 | Cemtrex, Inc.
327 | Performance Technologies, Inc.
328 | Xtralis (Aust) Pty Ltd
329 | TROX GmbH
330 | Beijing Hysine Technology Co., Ltd
1000 | --> Template Vendors
1001 | Vendor1001
1002 | Vendor1002
1003 | Vendor1003
1004 | Vendor1004
1005 | Vendor1005
1006 | Vendor1006
1007 | Vendor1007
1008 | Vendor1008
1009 | Vendor1009
1010 | Vendor1010
1011 | Vendor1011
1012 | Vendor1012
1013 | Vendor1013
1014 | Vendor1014
1015 | Vendor1015
1016 | Vendor1016
1017 | Vendor1017
1018 | Vendor1018
1019 | Vendor1019
327 | Performance Technologies, Inc.
328 | Xtralis (Aust) Pty Ltd
329 | TROX GmbH
330 | Beijing Hysine Technology Co., Ltd